**CALIBRATION VERIFICATION LOG**

Calibration Verification must be performed after each verification study.

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Fluke ThermometerAsset Number:** | | |  | | | **Calibration Due Date:** | |  | | | |
| **Fluke Thermometer S/N:** | | |  | | |
| **Acceptance Criteria:**  Temperature recorded between reference probe and Fluke thermometer are the same ± 0.25˚C for each test temperature. | | | | | | | | | | | |
| **Date** | **Ref. Probe Asset Number :** | | |  | | **Calibration Due Date:** | |  | | | |
| **Ref. Probe (˚C):** |  | | **Ref. Probe (˚C):** |  | | **Ref. Probe (˚C):** |  | **Acceptable** | | **Analyst Initials** |
| **Time:** |  | | **Time:** |  | | **Time:** |  |
| **Fluke Thermometer (˚C)** | **Difference** | | **Fluke Thermometer (˚C)** | **Difference** | | **Fluke Thermometer (˚C)** | **Difference** | **Yes** | **No** |
|  |  |  | |  |  | |  |  |  |  |  |
| Reviewed By/Date: | | | | | | | | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Ref. Probe Asset Number :** | |  | | **Calibration Due Date:** | |  | | | |
| **Ref. Probe (˚C):** |  | **Ref. Probe (˚C):** |  | | **Ref. Probe (˚C):** |  | **Acceptable** | | **Analyst Initials** |
| **Time:** |  | **Time:** |  | | **Time:** |  |
| **Fluke Thermometer (˚C)** | **Difference** | **Fluke Thermometer (˚C)** | **Difference** | | **Fluke Thermometer (˚C)** | **Difference** | **Yes** | **No** |
|  |  |  |  |  | |  |  |  |  |  |
| Reviewed By/Date: | | | | | | | | | | |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Ref. Probe Asset Number :** | |  | | **Calibration Due Date:** | |  | | | |
| **Ref. Probe (˚C):** |  | **Ref. Probe (˚C):** |  | | **Ref. Probe (˚C):** |  | **Acceptable** | | **Analyst Initials** |
| **Time:** |  | **Time:** |  | | **Time:** |  |
| **Fluke Thermometer (˚C)** | **Difference** | **Fluke Thermometer (˚C)** | **Difference** | | **Fluke Thermometer (˚C)** | **Difference** | **Yes** | **No** |
|  |  |  |  |  | |  |  |  |  |  |
| Reviewed By/Date: | | | | | | | | | | |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Ref. Probe Asset Number :** | |  | | **Calibration Due Date:** | |  | | | |
| **Ref. Probe (˚C):** |  | **Ref. Probe (˚C):** |  | | **Ref. Probe (˚C):** |  | **Acceptable** | | **Analyst Initials** |
| **Time:** |  | **Time:** |  | | **Time:** |  |
| **Fluke Thermometer (˚C)** | **Difference** | **Fluke Thermometer (˚C)** | **Difference** | | **Fluke Thermometer (˚C)** | **Difference** | **Yes** | **No** |
|  |  |  |  |  | |  |  |  |  |  |
| Reviewed By/Date: | | | | | | | | | | |